# M40 STONE / CONCRETE / QUARRY / CERAMIC TILING / MOSAIC

To be read with Preliminaries / General conditions.

M40/470 A	INTERMEDIATE SUBSTRATE

-	Drawing references : …………………

-	Substrate : …………………

- Manufacturer : RIW Limited, Arc House, Terrace Road South, Binfield, RG42 4PZ.

Tel : 01344 397777   Fax : 01344 862010

E-mail : technical@riw.co.uk  Web : www.riw.co.uk

-	Product reference : RIW FWM.

-	Thickness : 0.4mm.

-	Manufacturer : Not applicable

-	Product reference : Not applicable

- 	Application :

-	In accordance with manufacturers recommendations.